## Slide 1
Hospital infection control &prevention

## Slide 2
Month | VAP/ 1000 ventilator days |  | CLABSI/ 1000 centerline days |  | CAUTI / 1000 catheter days |  | SSI / 100 cases
APRIL | 1 (3.67) | MICU | 1 (0.53) | MICU | NIL |  | 1 (0.53%) Gynae
MAY | 3( 7.3) | MICU | NIL |  | NIL |  | 1 (1.07%) Surgery

## Slide 3: HAI PREVENTION
Sterile measures to be followed in certain procedures eg; Catheterization , central line insertion
follow aseptic technique while handling invasive catheters injections
Dressings
Suctioning
.

## Slide 4
HUMIDIFIERS AND BREATHING CIRCUITS
Washing of the humidifiers daily
before using for any other patient it should be properly washed and disinfected as per protocol.
All patient should have a separate clean bag to store used oxygen mask nebulizer kit NRBM, Bain’s circuit, Bi-pap kit,
After the use they should be cleaned with alcohol 70% and stored in the bag as to avoid getting soiled and misplaced

## Slide 5: HAND HYGINE
Changing of the gloves when soiled.
Hand washing need to be strengthen.
Use of sanitizers between the patients need to be strengthened as it is seen missing during the Covid care.

## Slide 6: CLEANING AND DISINFECTION
Ward cleaning and disinfection should be done as per protocol and documented.
Proper cleaning of bed and surrounding after the patient transfer/discharge, before taking another patient.

## Slide 7
THERMOMETERS & FINGER PULSE OXYMETER
Cleaning and disinfection of thermometers with alcohol swab between the patient use or procuring the personal thermometer and finger pulse Oxymeter for every patient if possible.

## Slide 8
INJECTIONS TRAY
Injection trays need to be washed and sent for autoclave as per protocol or can be dipped in 1% hypochlorite solution for 15 minutes, wash with clean water and dry before next use .

## Slide 9: MEDICATION ADMINISTRATION
All antibiotics should be given on stipulated time (45min before and after scheduled as many discrepancies are noticed during Covid surge. All Nurses need to be supervised for medication administration.
Canula site need to be taken care to prevent thrombophlebitis

## Slide 10: WASTE MANEGEMENT
Covid area waste ( BMW/General) only be sent on stipulated time to ground floor as to avoid accumulation of the waste at the entrance.
Handling of sharps need to be followed as per protocol to avoid NSI.

## Slide 11: HOUSE KEEPING
House Keeping Check list for cleaning and disinfection of the area should be maintained.
Sister should see that the house keeping is maintaining the register.

## Slide 12: LINEN & LAUNDRY
Used Linen should not be thrown on floor, always use drums provided for dirty linen.

## Slide 13
OTHER POINTS
Using of dressing trolley during the dressing procedures and other procedures instead of using the bed as table, wheel the trolley to the area.
Injection trolley should be wheeled to the patient side during the injections

## Slide 14
THANK YOU